## calculations
Enter values in the gray cells, answers appear in yellow area
F0 | reading before acidification
Fa | reading after acidification |  |  |  | Calibration Constants (7/12/2011):
Vol-filt | sample volume filtered (mL) |  |  |  | Kx | 0.498 | (linear calibration factor)
Vol-ex | extraction volume (90% acetone, mL) |  |  |  | Fm | 1.94 | (acidification coefficient) | 1.9643 | 2.2
blank | F0 | Fa | Vol-filt | Vol-ex | [chl a] (ug/L) | phaeo (chl equiv. Weights)
0.215 | 80 | 42 | 300 | 5 | 0.65093 | 0.02189
0.215
0.215
0.215
0.215
0.215
0.215
0.215
0.215
0.215
0.215
0.215
0.215
0.215
0.215
0.215
0.215
0.215
0.215
0.215
0.215
0.215
0.215
0.215
0.215
0.215
0.215
0.215
0.215
0.215
0.215